The prepared liquid acted as a highly permeable fiber coating. It was therefore utilized in the solid phase micro-extraction. Then the nanomaterial that had been made was inactivated on a stainless steel wire. It was then used for the production of the microextraction fiber in solid phase. Still a headspace was used to aid the extraction in this phase. At optimal conditions, test–retest reliability for a single fiber ranged between 4.3 and 8.3 percebtage for the compounds that were being tested. The test-retest reliability was expressed as the relative standard deviation. For the last ten years Scholars  in the academic and industry sector have put a special focus on the use of ionic liquids (ILs) in various disciplines of chemistry. The ILs are a category of organic salts which are made up of organic cations and several anions;which retains the liquid form at room temperature. Nitably, the ILs have numerous advantages as compared to the conventional organic solvents. To start with, they they have relatively lower vapor pressure and enhanced stability. In the same line, the porosity and miscibility of the ILs can be regulated. They also exhibit a higher viscosity and enhances extractability fr a wide range of organic and inorganic compounds. Our progressive research focuses at the immobilization of the ILs with inorganic materials. Similarly, the use of ILs for the as a new fiber coating for (HS-SPME), has been discussed in the study. In earlier studies, we proposed the vital improvement of analyte extraction, which was conducted in SPME. This aprticular analyte extraction was conducted by supplying incorporated ILs and inorganic materials including periodic mesoporousorganosilica. Based on the line study that we will be focusing on, and our earlier studies, we have endevoured to enlarge the scope of research in the quest of developing coating effecasy. The coating efficacy is expected to be achieved by accessing lower detection levels for the recognition of organic contaminants.

Our ongoing research program aims at immobilization organic ionic liquids with inorganic materials and its application as a new fiber coating for headspace solid phase microextraction (HS-SPME) has been presented. In our previous studies, the significant enhancement of analyte extraction that was performed in SPME by providing integrated ionic liquids and inorganic materials such as periodic mesoporousorganosilica was proposed. With attention to above details and following previous study, we have tried to widen the research in order to develop coating efficiency though access to lower detection limits for the determination of organic pollutants. triazoles from the headspace of aqueous samples. The factors that influenced on the extraction efficiency of triazoles fungicides including sample temperature, stir-ring rate, extraction time and ionic strength were investigated and optimized. Finally, the proposed method was successfully applied to the analysis of trace triazoles fungicides in environmental samples. Triazolic compounds were obtained from Gyah Corporation, IRAN. The stock solution from each compound were prepared with methanol and stored in a refrigerator. Working solutions were prepared by diluting the stock solutions with methanol, and more diluted working solutions were prepared daily by diluting these solutions with deionized water.1,3-propane sulfones were dissolved in toluene (20 mL) and stirred for 24 h at 50 °C under a nitrogen atmosphere. A white precipitate (MIMPS) formed, which was filtered, washed with diethyl ether three times, then dried in a vacuum. MIMPS (0.06 mol) was added to an aqueous solution of H3PW12O40 (0.02 mol), and then the mixture was stirred at room temperature for 24 h. Water was removed in vacuum to give the final product as a solid.
Thermal desorption of retained compounds on fiber was carried out at 250 °C while the split valve of injector on the GC kept closed at different period of times. In all experiments, 5 mL of double distilled water or wastewater was spiked withtriazoles standards in a 20 mL (concentrations: 10 ng mL−1, time:60 min and temperature: 85°C) vial and placed on a magnetic stirrer. Some volatile triazole pesticides, namely, penconazole, diniconazole - hexaconazole, triticonazole, difenoconazole, tebuconazole, which were selected as the model analytes to estimate the coating performance. The experimental conditions that affect the SPME efficiency for the triazoles, such as extraction time, stirring rate, ionic strength, pH, desorption temperature and desorption time were optimized. Before optimization of the extraction parameters, complete desorption conditions of the collected analytes in the GC–MS injection port, and their proper separation over the column were optimized. Thus, different injection temperatures and desorption times were tested. The upper temperature that can be used for desorption of a fiber is limited by the thermal stability of its coating. Different desorption temperatures were tested and a temperature of 250 °C was found to be most appropriate for effective desorption of the triazolicanalytes from the polyoxometalate-based ionic liquid fiber without damaging its coating. Desorption times from 1 to 4 min were examined at this temperature and 2 min was selected for a complete desorption with no carry over effect.Therefore, after survey of the pH effect in the pH range 2–9, by adding the appropriate hydrochloric acid or sodium hydroxide solution to the aqueous phase. The results confirmed that the tirazoles extraction performance reached a better level at pH 6. When pH rose above 6, the peak areas of tirazoles decreased rapidly. At pH values higher than 8 and lower than 4, the analytical signals for the tested pesticides were reduced. Reducing in extraction efficiencies of target analytes can be attributed to hydrolysis of pesticides in highly acidic or alkaline pHs. On the basis of these results, pH values in the range 4–7 can be used for further analysis. It should be noted that pH of all samples used in this study was within the range 4–7 and hence pH adjustment was not required. Ionic salt has two effects on the extraction phenomenon: it ties up H2O molecules in the aqueous phase (forming hydrated ions) so that less free water is available for solvation of analyte; and it breaks down the hydrogen bond of the water structure which makes it easier for analyte to extract into the aqueous phase. This effect is called salting-out effect. Extraction efficiency of the studied compounds was measured from 5 mL of the model sample solutions containing 20% (w/v) NaCl and 60 min extraction times at various stirring rates Quantitative analysis using this proposed method was evaluated by the determination of standard solutions; the method detection limit and other quantitation information for the six-triazolepesticides are tabulated in Table 1. The calibration curves were constructed based on the peak area; the method detection limit (7–40 pgmL−1) was defined as three times that of the base-line noise. The precision (R.S.D.) of the system was evaluated by repeating each extraction and determination three times, and was in the range between 4.3 and 8.3%. The ability of the prepared fiber (POM-IL) for extraction of triazoles from model solution was studied and compared with commercial fiber such as PDMS. Extraction of triazoles from model solutions (10 ngmL−1) has been performed using PDMS and prepared fiber according to the optimum condition of each fiber. The obtained results on the basis of chromatographic peak area show that the prepared fiber has higher efficiency compared to commercial fibers.The lifetime of the homemade SPME device was evaluated after more than 50 analyses, using a 10 ng mL−1 spiked sample as the performance test sample. The extraction of triazoles was used to measure the prepared fiber stability after repeating the sampling/desorption cycles. There is no significant variance since the fiber is relatively robust, thus the lifetime of the prepared device should be longer in comparison with commercial SPME fibers.

Liquid was prepared and used as a highly porous fiber coating material for solid-phase microextraction. The prepared nanomaterial was immobilized onto a stainless steel wire for fabrication of the solid-phase microextraction fiber. Headspace solid-phase microextraction has been developed for the extraction. In optimum conditions, the repeatability for one fiber expressed as relative standard deviation, was between 4.3% and 8.3% for the test compounds. In the last decade, the application of ionic liquids (ILs) in different field of chemistry has been the subject of intensive research in academia and industry because of their adjustable physical and chemical properties.Ionic liquids (ILs) are a group of organic salts consisting of a combination of organic cations and different anions that are liquids at room temperature. They have various advantages over traditional organic solvents, such as low vapor pressure, high stability, large viscosity, adjustable miscibility and polarity, good extractability for different organic and inorganic compounds